| 2010 | Annual Drinking Water Quality Report |
| --- | --- |
| For |
| Chester Water Department |
| DEP PWS ID # 1059000 |

This report is a snapshot of drinking water quality that we provided last year. Included are details about where your water comes from, what it contains, and how it compares to state and federal standards. We are committed to providing you with information because informed customers are our best allies.

I.	PUBLIC WATER SYSTEM INFORMATION

| Address: 15 Middlefield Road |
| --- |
| Contact Person: Ed MacDonald |
| Telephone #:413-354-7760 | Fax #: 413-354-2268 |
| Internet Address: http://www.townofchester.net/chestermass/ |

Water System Improvements

Our water system is routinely inspected by the Massachusetts Department of Environmental Protection (MassDEP). The MassDEP inspects our system for its technical, financial and managerial capacity to provide safe drinking water to you. To ensure that we provide the highest quality of water available, your water system is operated by a Massachusetts certified operator who oversees the routine operations of our system. The water operator checks the treatment plant, tests the water, and records data every day of the year including weekends and holidays.

In addition the town of Chester with assistance from the Pioneer Valley Planning Commission received grant funding from the Commonwealth of Massachusetts through its Community Development Block Grant(CDBG) program to replace approximately 1100 linear feet of water main along Rt. 20 between Middlefield Road and Hampden Street.  The existing 6 inch main, thought to be between 75 and 95 years old, serves as the main trunk line supplying the Town’s Water Service Area with treated water from the Austin Brook Reservoir Treatment plant.  The new 8” diameter ductile iron pipe provides an increase of flow and pressure to water customers as well as enhanced fire protection with the replacement of two existing fire hydrants with newer units.  Additionally, replacement of the existing corroded and tuberculated pipe will improve water quality for all water customers.

Opportunities for Public Participation

If you would like to participate in discussions regarding your water quality, you may attend the meetings of the Water Board, held on the first Monday of the month.  The Water Commissioners are Michael W. Crochiere, R. Duane Pease, Eugene Bishop.  The Commissioners ask that you call and make an appointment so enough time would be provided for you.    In the event of an emergency during the day , please call the Water Department first at 413-354-7760, and  then each Commissioner.  If you are unable to reach the office or the Commissioners, please call the Primary Water Operator, Bernard St. Martin at 413-667-5526.

II.	YOUR DRINKING WATER SOURCE

Where Does My Drinking Water Come From?

The Chester Water System is supplied by two reservoirs known as Austin Brook Reservoir and Horn Pond Reservoir.  The main reservoir is Austin Brook, which is located one mile west of the center of town.  Horn Pond Reservoir is located in Becket and flows by gravity through a pipe to the Water Treatment Plant located next to the Austin Brook Reservoir.   Each source is used independently and selected to provide the best quality raw water to the filter plant.

How Are These Sources Protected?

The MassDEP has prepared a Source Water Assessment Program (SWAP) Report for the water supply source(s) serving this water system. The SWAP Report assesses the susceptibility of public water supplies. The complete SWAP report is available in the selectman’s office at the Town Hall call Chester Water Department at 413-354-7760.

It is imperative that all persons who are on the water system take responsibility for the safety of the water in their charge.  If you have a problem with the plumbing in your charge, please see to it that it is repaired in a timely manner to reduce the cost of wasted water.  This water has been filtered and the required additives added per government regulations.  If you become aware of a problem in the system, such as a line break or leaky service connection, please contact the Water Department immediately

Is My Water Treated?

Our water system makes every effort to provide you with safe and pure drinking water. To improve the quality of the water delivered to you, we treat it to remove several contaminants. We use slow sand filtration for treatment of the raw water. Small particles and organisms such as sediment, algae and bacteria can cause water to take on unpleasant odors or tastes, and sometimes make it unhealthy to drink. To remove this material, it is necessary to pass it through a sand filter bed that has several feet of sand.  Water is applied to the top of the filter and passes slowly through the sand. This traps most of the particles. By the time the water reaches the bottom of the filter, better than 90 percent of all impurities have been removed. Over time, the sand filter starts to clog. When this happens, it is necessary to remove the top portion of the filter.

Sodium hypochlorite is injected into the water for disinfection purposes to protect you against microbial contaminants.  Upon discharge to the water system, sodium hydroxide is injected into the water so that it will be less corrosive to the distribution pipes and  household plumbing.

The water quality of our system is constantly monitored by us and the DEP to determine the effectiveness of existing water treatment and to determine if any additional treatment is required.

III.	SUBSTANCES FOUND IN DRINKING WATER

Sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals, and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants -such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants -such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, and farming.

Pesticides and herbicides -which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants -including synthetic and volatile organic chemicals, can be by-products of industrial processes (including source water disinfection) or natural degradation reactions, and can originate from gas stations, urban stormwater runoff, septic systems, etc.

Radioactive contaminants -which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the Department of Environmental Protection (DEP) and U.S. Environmental Protection Agency (EPA) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems. The Food and Drug Administration (FDA) and Massachusetts Department of Public Health (DPH) regulations establish limits for contaminants in bottled water that must provide the same protection for public health. All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline  (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and some infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control and Prevention (CDC) guidelines on lowering the risk of infection by cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

IV.	IMPORTANT DEFINITIONS

Maximum Contaminant Level (MCL) – The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) –The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) -- The highest level of a disinfectant (chlorine, chloramines, chlorine dioxide) allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) -- The level of a drinking water disinfectant (chlorine, chloramines, chlorine dioxide) below which there is no known of expected risk to health.

MRDLG's do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Treatment Technique (TT) – A required process intended to reduce the level of a contaminant in drinking water.

Action Level (AL) – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

90th Percentile – Out of every 10 homes sampled, 9 were at or below this level.

Variances and Exemptions – State or EPA permission not to meet an MCL or a treatment technique under certain conditions.

ppm 	= parts  per million, or milligrams per liter (mg/l)

ppb 	= parts per billion, or micrograms per liter (ug/l)

ppt	= parts per trillion, or nanograms per liter

pCi/l 	= picocuries per liter (a measure of radioactivity)

NTU	= Nephelometric Turbidity Units

ND	= Not Detected

N/A	= Not Applicable

mrem/year = millimrems per year (a measure of radiation absorbed by the body)

Secondary Maximum Contaminant Level (SMCL) – These standards are developed to protect the aesthetic qualities of drinking water and are not health based.

Massachusetts Office of Research and Standards Guideline (ORSG) – This is the concentration of a chemical in drinking water, at or below which, adverse health effects are unlikely to occur after chronic (lifetime) exposure. If exceeded, it serves as an indicator of the potential need for further action.

V.	WATER QUALITY TESTING RESULTS

What Does This Data Represent?

The water quality information presented in the table(s) are from the most recent round of testing done in accordance with the regulations. All data shown was collected during the last calendar year unless otherwise noted in the table(s)

| Lead and Copper | Date Collected | 90th Percentile | Action Level (AL) | MCLG | # of Sites Sampled | # of Sites Above the AL | Exceeds AL? | Possible Sources |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (ppb) | 11/17/10 | 5.8 | 15 | 0 | 20 | 0 | no | Corrosion of household plumbing |
| Copper (ppm) | 11/17/10 | 0.61 | 1.3 | 1.3 | 20 | 0 | no | Corrosion of household plumbing |

"If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Chester Water Department  is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead."

Turbidity is monitored to evaluate the slow sand filter performance

| Contaminant | MCL | MCLG | Level Found | Range of Detections | Violation | Date of Sample | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Turbidity | TT = 5 NTU | n/a | 0.1 | 0.01-4.6 | no | continuous- | Soil runoff |
|  | TT=percentage of samples <0.5 NTU |  | 100% | - |  |  |  |

| Regulated Contaminant | Date(s) Collected | Highest Detect | Range Detected | Highest Average | MCL or MRDL | MCLG or MRDLG | Violation (Y/N) | Possible Source(s) of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |
| Nitrate (ppm) | 04/27/10 | .06 | - | - | 10 | 10 | NO | Runoff from fertilizer use; leaching from septic tanks; sewage; erosion of natural deposits |

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining their occurrence in drinking water and whether future regulation is warranted.

| Unregulated Contaminant | Date(s) Collected | Result or Range Detected | Possible Source |
| --- | --- | --- | --- |
| Inorganic Contaminants |  |  |  |
| Sodium (ppm) | 4/27/10 | 5.2 | Natural sources; runoff from use as salt on roadways; by-product of treatment process |

Disinfection and its By-Products

| Regulated Contaminant Date(s) Collected Highest Detect Range Detected Highest Average MCL or MRDL MCLG or MRDLG Violation (Y/N) Possible Source(s) of Contamination |
| --- |
| Total Trihalomethanes (TTHMs) (µg/l) | Quarterly | 143.7 | 38.8-143.7 | 87.3 ist quarter | 80 | ----- | Yes ist and 2nd quarter | Byproduct of drinking water chlorination |
| Haloacetic Acids (HAA5) (µg/l) | Quarterly System Wide RAA | 76.6 | 0-76.6 | 39.8 2nd quarter | 60 | ----- | No | Byproduct of drinking water disinfection |
| Chlorine (ppm) | continuous | 1.6 | 0.40-1.6 | ----- | 4 | 4 | No | Water additive used to control microbes |

VI.	COMPLIANCE WITH DRINKING WATER REGULATIONS

Does My Drinking Water Meet Current Health Standards?

Drinking Water Violations

A cross connection program audit during an April 2010 inspection noted that CWD failed to comply with an April 1, 2010 requirement included in a January 22, 2010 Notice of Noncompliance, to complete cross connection surveys of all industrial, commercial, and institutional premises within its service area, and provide MassDEP with copies of all survey reports.  The audit also noted that CWD had additional cross connection control related violations that were not evident from the 2009 paper audit that resulted in the NON.  Those violations included failure to have a MassDEP-approved cross connection control program plan in violation of 310 CMR 22.22(3)(b), failure to maintain adequate cross connection control related records in violation of 310 CMR 22.22(3)(d), (f), (m) and (p), and failure to have a licensed cross connection control surveyor associated with the water system in violation of 310 CMR 22.22(3)(q).   As a result of these violations, an Administrative Consent Order (ACO-WE-10-5D003) was executed between MassDEP and CWD on June 21, 2010.

We are committed to providing you with the best water quality available. However one contaminant group that we tested last year did not meet all applicable health standards regulated by the state and federal government.

When chlorine disinfection is used in the treatment of drinking water, disinfectants combine with organic matter present in water to form chemicals called disinfection byproducts (DBPs), such as trihalomethanes (THMs).  The Chester Water Department (CWD) began source water monitoring at Horn Pond and Austin Brook Reservoir in 2005 to evaluate water quality trends of source water organics on a seasonal basis.

CWD’s running annual arithmetic average of quarterly Total Trihalomethanes (TTHMs) results from the first quarter of 2010 was 87 micrograms per liter (µg/l) and was 84 µg/l for the second quarter.  These levels exceed the TTHM Maximum Contaminant Level (MCL) of 80 µg/l, in violation of Massachusetts Drinking Water Regulation 310 CMR 310 CMR 22.7(E).  The public was notified according to 310 CMR 22.16.  The Chester Water Department is committed to reducing this contaminant and has made the following efforts at improving treatment:

      - CWD continues to working with MassDEP and the University of New Hampshire to evaluate additional treatment processes at the filter plant.

      - CWD continues to evaluate methods to reduce chlorine dosages and minimize excessive water storage and stagnation time.

      - The new plant water meter, turbidity meter, pH meter and chlorine analyzer were calibrated to improve control of chemical feeding and record more accurate data.

      - CWS has increased distribution system flushing frequency so that water stagnation is reduced.

Our water system and the MassDEP monitor and record the effectiveness of actions taken in response to contaminant violations.

Trihalomethanes health effects: Some people who drink water containing trihalomethanes in excess of the MCL over many years experience problems with their liver, kidneys, or central nervous system, and may have an increased risk of getting cancer.

VII.	EDUCATIONAL INFORMATON

Cross Connections are Hazardous to our Drinking Water

Please help us protect our Drinking Water by eliminating Cross Connections

Clean Drinking Water

Polluted Source

What is a Cross Connection and What Can I do About it?

A cross connection is a connection between a drinking water pipe and a polluted source.  The pollution can come from your own home.  For instance, you’re going to spray fertilizer on your lawn.  You hook up your hose to the sprayer that contains the fertilizer.  If the water pressure drops (say because of fire hydrant use in the town) when the hose is connected to the fertilizer, the fertilizer may be sucked back into the drinking water pipes through the hose.  Using an attachment on your hose called a backflow-prevention device can prevent this problem.

The Chester Water Department recommends the installation of backflow prevention devices, such as a low cost hose bib vacuum breaker, for all inside and outside hose connections.  You can purchase this at a hardware store or plumbing supply store.  This is a great way for you to help protect the water in your home as well as the drinking water system in your town.  For additional information on cross connections and on the status of your water system’s cross connection program, please contact the Water Department  at 413 354-7760.